## Master List
Completed | Category | Sequencing type | Item | Considerations | Approx. Planning Qty (12–15 trainees / 4–6 benches) | Ship Temp (reference) | Storage Temp (reference) | On-site Availability | Qty On-site | Qty to Procure | Source / Procuring Institution | Owner | Status | Storage / Box Location | Notes / Follow-up
FALSE | Lab Equipment | Both | Freezer (-20°C) | Confirm sufficient dedicated/shared space and temperature monitoring. | 1 unit/access |  |  | Yes |  |  |  |  | Pending
FALSE | Lab Equipment | Both | Freezer (-80°C) | Required only when sample/reagent workflow needs -80°C storage. | 1 unit/access if required |  |  | No |  |  |  |  | Ordered
FALSE | Lab Equipment | Both | Single-channel pipette set | P10/P20, P100/P200, P1000; confirm tip compatibility. | 4–6 sets (1 per bench) |  |  | Maybe |  |  |  |  | Ready
FALSE | Lab Equipment | Both | Multichannel pipette set | 8- or 12-channel; P100/P200. | 1–2 sets (shared) |  |  | Unknown |  |  |  |  | Shipped
FALSE | Lab Equipment | Both | Qubit fluorometer |  | 1 | [7 empty] | Received
FALSE | Lab Equipment | Both | Thermocycler - pre-PCR | Confirm plate/tube profile compatibility. | 1
FALSE | Lab Equipment | Both | Thermocycler - post-PCR | Confirm plate/tube profile compatibility. | 1 | [7 empty] | Not applicable
FALSE | Lab Equipment | Both | Microcentrifuge for 1.5 mL tubes | Confirm rotor capacity and refrigeration needs. | 1 shared
FALSE | Lab Equipment | Both | Centrifuge / spinner for PCR tubes, strips, or plates | Specify format, rotor, speed/refrigeration, and compatibility with planned plastics. | 2–4 shared (up to 1 per bench)
FALSE | Lab Equipment | Both | Vortex |  | 1–2
FALSE | Lab Equipment | Both | Gel station | Needed if Tapestation/QSep/BioAnalyzer are unavailable | 1 if used
FALSE | Lab Equipment | Both | Capillary electrophoresis system | e.g., TapeStation, Qsep; confirm consumables are available. Nanodrop/Bioanalyzer are backup options if unavailable. | 1 if used
FALSE | Lab Equipment | Both | Magnetic stand for 1.5 mL tubes |  | 4–6 if used (1 per bench)
FALSE | Lab Equipment | Both | Magnetic stand for 200 µL PCR strip tubes |  | 4–6 (1 per bench)
FALSE | Lab Equipment | Illumina | Illumina sequencer | Specify model | 1 sequencer
FALSE | Lab Equipment | ONT | ONT sequencer | Specify model; prior workshop used MinION Mk1B/Mk1D. | 1 sequencer if ONT included
FALSE | Lab Equipment | Both | Ice machine | Confirm reliable access or alternate ice supply. | 1 access
FALSE | Other Equipment | Both | Portable whiteboard / flip-note easel |  | 1
FALSE | Other Equipment | Both | Projector / presentation display | Test before training and confirm appropriate adapters/cables. | 1
FALSE | Other Equipment | Both | Voltage converters / plug adapters | Confirm host country voltage/plug standard for all imported electronics (sequencers, thermocyclers, laptops). | 1 set per imported device
FALSE | Other Equipment | Both | Power strips / surge protectors | Bench power access is often limited; bring extras for shared equipment. | 4–6 (1 per bench)
FALSE | Other Equipment | Both | Backup power / UPS | Protects against power interruptions during multi-hour sequencing runs or -20°C/-80°C storage; verify local grid reliability. | 1–2 (for sequencer + freezers)
FALSE | Computing / Dry Lab | Both | Reliable internet connection (optional: hotspot) | Confirm reliability and ability to support simultaneous training use. (check internet speed) | Capacity for 12–15 concurrent users
FALSE | Computing / Dry Lab | Both | Trainee laptops / computers | Confirm required software/browser capability and charging access. | 12–15 (1 per trainee)
FALSE | Computing / Dry Lab | Both | External hard drive(s) / USB drives | For transferring and backing up sequencing run data; sequencer output files can be large. | 2–3 drives
FALSE | Computing / Dry Lab | Both | Cloud compute credits / bioinformatics server access | mNGS analysis pipelines (e.g., taxonomic classification, assembly) often exceed laptop capacity; confirm compute plan in advance. | 1 shared instance/account or 1 per trainee group
FALSE | Computing / Dry Lab | Both | Preloaded reference databases (e.g., taxonomic classification DB) | Databases used for classification (e.g., Kraken2, NCBI nt) can be very large; download and stage before the workshop rather than relying on venue internet. | 1 shared copy (server or distributed via drive)
FALSE | Lab Supplies | Both | Storage boxes for 1.5 mL tubes and PCR strips/tubes | Suitable for -20°C / -80°C storage. | 1–2 boxes
FALSE | Lab Supplies | Both | Filtered pipette tips — 10 µL | Confirm compatibility with available pipettes. | 5–10 boxes
FALSE | Lab Supplies | Both | Filtered pipette tips — 20 µL | Confirm compatibility with available pipettes. | 5–10 boxes
FALSE | Lab Supplies | Both | Filtered pipette tips — 100/200 µL | Confirm compatibility with available pipettes. | 5–10 boxes
FALSE | Lab Supplies | Both | Filtered pipette tips — 1000 µL | Confirm compatibility with available pipettes. | 5–10 boxes
FALSE | Lab Supplies | Both | 200 µL PCR strip tubes | Confirm thermocycler compatibility. | 1–2 boxes × 100
FALSE | Lab Supplies | Both | 1.5 mL RNase-free tubes |  | 1–2 boxes × 100
FALSE | Lab Supplies | Both | 5 mL RNase-free tubes |  | 1 pack/box
FALSE | Lab Supplies | Both | 50 mL tubes |  | 1 pack/box
FALSE | Lab Supplies | Both | PCR tubes for Qubit |  | 1 box/pack
FALSE | Lab Supplies | Both | PCR plate / strip / tube racks | Empty tip boxes can be used as an alternative where appropriate. | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | 50 mL tube racks | Convenience item | 1–2 optional
FALSE | Lab Supplies | Both | On-bench waste containers | For tips/tubes/ethanol waste as appropriate. | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | Kimwipes / lint-free wipes |  | 2–6 boxes
FALSE | Lab Supplies | Both | RNase decontamination reagent | RNaseZap/RNase Away | 1–2 × 250 mL bottles
FALSE | Lab Supplies | Both | Disposable nitrile gloves | Size mix should reflect trainee/staff needs. | 4–6 boxes total (mixed sizes)
FALSE | Lab Supplies | Both | Lab coats |  | 15–20 (1 per trainee/staff)
FALSE | Lab Supplies | Both | Biohazard waste bags | For biological waste, separate from general tip/tube waste. | 1 box/roll
FALSE | Lab Supplies | Both | Disposable reservoirs | Optional | 1 pack if used
FALSE | Lab Supplies | Both | Cold racks for PCR tubes |  | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | Ice buckets | Empty tip boxes can be an alternative. | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | Spray bottles for 70% ethanol |  | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | Chuck cloths |  | 1 pack
FALSE | Lab Supplies | Both | Scissors |  | 2–4
FALSE | Lab Supplies | Both | Lab pens / Sharpies |  | 4–6 for lab + extras
FALSE | Lab Supplies | Both | Lab tape |  | 2–4 rolls
FALSE | Lab Supplies | Both | Calculators |  | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | Timers |  | 4–6 (1 per bench)
FALSE | Lab Supplies | Both | TapeStation loading tips |  | 1 pack/box if used
FALSE | Reagents | Both | Molecular-grade water | Station setup used ~1 mL aliquot per work station. | 1 × 500 mL bottle
FALSE | Reagents | Both | Molecular-grade ethanol / absolute ethanol (≥99%) | Often sourced locally when shipping restrictions apply. | 1 × 500 mL bottle
FALSE | Reagents | Both | Freshly prepared 85% ethanol working solution | station setup used ~5 mL per station; prepare fresh as required by protocol. | ~20–30 mL per setup/day (5 mL × 4–6 benches)
FALSE | Reagents | Both | SPRIselect / AMPure XP beads | station setup used 1 mL aliquot per station; historical workshop stocks ranged from 15–50 mL. | 15–50 mL total | RT | RT
FALSE | Reagents | Both | Qubit RNA HS assay kit |  | 1 kit if RNA QC included | 4°C | 4°C
FALSE | Reagents | Both | Qubit DNA HS assay kit |  | 1 kit if DNA QC included | 4°C | 4°C
FALSE | Reagents | Both | TapeStation reagents | Confirm assay type (e.g., D500/genomic), buffer, ladder, ScreenTape, and loading tips. | 1 complete assay set/kit | 4°C | 4°C
FALSE | Reagents | Both | 50 bp ladder |  | 1–2
FALSE | Reagents | Both | Sample collection materials | Examples: Zymo DNA/RNA Shield 2x, swabs, collection tubes. | ~20–30 sample sets if collection/extraction is included
FALSE | Reagents | Both | RNA extraction kit | choose kit based on sample type/workflow. | ~2 kits or enough for ~2× planned extractions
FALSE | Reagents | Both | DNase I kit | Include only if not included in extraction kit. | 1 kit if required
FALSE | Reagents | Illumina | NEBNext Ultra II RNA library prep kit |  | ~2 × 96-reaction kits for RNA workflow | -20°C | -20°C
FALSE | Reagents | Illumina | TruSeq-compatible mini adapter |  | 1 vial (~960 µL historical reference) | -20°C | -20°C
FALSE | Reagents | Illumina | DNA oligo — TS mini adapter R1 |  | 1 × 100 nmol | -20°C | -20°C
FALSE | Reagents | Illumina | DNA oligo — TS mini adapter R2 |  | 1 × 100 nmol | -20°C | -20°C
FALSE | Reagents | Illumina | NEB Adapter Dilution Buffer |  | 1 × 500 µL | -20°C | -20°C
FALSE | Reagents | Both | ERCC Spike-in | RNA workshops only. | 1 vial/kit if used
FALSE | Reagents | Illumina | FastSelect | RNA workshops only. | 1 kit if used
FALSE | Reagents | Illumina | Barcode index primers | Prior workshop planning used one 96-well plate. | 1 × 96-well plate | -20°C | -20°C
FALSE | Reagents | Illumina | KAPA HiFi amplification reagent |  | 1 kit or enough for ~2× planned reactions | -20°C | -20°C
FALSE | Reagents | Illumina | Illumina sequencing cartridge / kit | Specify platform/output. Keep an extra sequencing kit when feasible. | 2 total where feasible (1 planned + 1 backup) | Dry ice | -20°C
FALSE | Reagents | Illumina | Illumina flow cell | If supplied separately from the sequencing kit. | 1 planned + 1 backup if feasible | 4°C | 4°C
FALSE | Reagents | Illumina | Illumina Hybridization Buffer (HT1) |  | ~5 mL | -20°C | -20°C
FALSE | Reagents | Illumina | PhiX control |  | 1 vial | -20°C | -20°C
FALSE | Reagents | Illumina | 1 N NaOH | For denaturation where required. | ~5 mL working aliquot | RT
FALSE | Reagents | Illumina | 200 mM Tris-HCl, pH 7 | For denaturation workflow where required. | ~5 mL working aliquot | RT
FALSE | Reagents | ONT | Rapid PCR Barcoding Kit 24 V14 | For ONT workflow. | 1 kit + 1 backup if feasible | -20°C | -20°C
FALSE | Reagents | ONT | Flow Cell (R10.4.1) | For ONT workflow; verify current flow-cell compatibility. | 1 planned + 1 backup if feasible | 4°C | 4°C
FALSE | Reagents | ONT | Flow Cell Wash Kit | For ONT workflow. | 1 kit | -20°C | -20°C
FALSE | Reagents | ONT | Invitrogen UltraPure BSA (50 mg/mL) | For ONT workflow where required. | 1 vial/bottle | -20°C | -20°C
FALSE | Samples | Both | Positive control sample(s) | Prior workshops used contrived/fecal controls and multiple microbial/human/pathogen spike-in positives. | ~3–5 positive controls | -20°C | -20°C
FALSE | Samples | Both | Negative control sample(s) | Include controls appropriate to each workflow/run. | ~1–2 per workflow/run | -20°C | -20°C
FALSE | Samples | Both | Unknown / training sample(s) |  | ~15–20 training samples
FALSE | Samples |  | Import/export & biosafety permits | Needed when shipping biological materials or controlled reagents across borders; relevant for any international host site (e.g. GoodLife/Rwanda). | 1 set of documentation per shipment
FALSE | Workshop Materials | Both | Workshop booklet / protocols printouts |  | 15–20 copies (trainees + trainers/spares)
FALSE | Workshop Materials | Both | Slide decks | Keep an offline copy in addition to the shared-drive version. | 1 digital master + 1 offline backup
FALSE | Workshop Materials | Both | Notebooks |  | 15–20
FALSE | Workshop Materials | Both | Pens |  | 15–20
FALSE | Workshop Materials | Both | Dry-erase / whiteboard markers | Different colors were specifically noted in Meharry planning. | 1 set (~4–8 markers/colors)
FALSE | Workshop Materials | Both | Attendance / sign-in sheets |  | 1 per session
FALSE | Workshop Materials | Both | Certificates of completion | Common program deliverable; plan printing/signing in advance. | 15–20
FALSE | Workshop Materials | Both | Pre/post-workshop assessment or evaluation forms | For measuring training outcomes; | 15–20 each
FALSE | Workshop Materials | Both | Photo/media release waiver forms | Needed if trainee photos will be used in grant or program reports. | 15–20
FALSE | Workshop Materials | Both | Backup vendor / local supplier contact list | For sourcing critical consumables locally on short notice if a shipment is delayed or a supply runs out. | 1 list per host site

## All Catalog Numbers for Illumin
Description | Supplier | Catalog number | Unit | Cost per unit | URL | Comments | storage
New England Biolabs
NEB Library Prep kit Ultra II RNA | New England Biolabs | E7770 | 96 Reactions | 3340 | https://www.neb.com/products/e7770-nebnext-ultra-ii-rna-library-prep-kit-for-illumina#Product%20Information | This is the non-directional RNA kit. If you want to do DNAseq, use the FS NEBNext kit. | -20
NEB Library prep kit ultra II FS DNA | New England Biolabs | E7805L | 96 reactions | 2521 | https://www.neb.com/products/e7805-nebnext-ultra-ii-fs-dna-library-prep-kit-for-illumina#Product%20Information |  | -20
USER enzyme | New England Biolabs | M5505L |  |  | https://www.neb.com/products/m5505-user-enzyme#Product%20Information | USER enzyme comes with the NEB barcode primers, if you get your primers through other sources (IDT, Illumina), you must purchase the USER enzyme separately unless using mini adapters (recommended) | -20
Barcode primers | New England Biolabs | E6440S (dual index) * see note | 96 Reactions | 582 (dual index, 96) 2093 (dual, 384) | https://www.neb.com/products/e6440-nebnext-multiplex-oligos-for-illumina-96-unique-dual-index-primer-pairs#Product%20Information | This kit includes the USER enzyme and adapters (which need to be diluted depending on input). Several different primer sets depending on the level of multiplexing. We strongly recommend dual barcoding to minimizing the risk of barcode hopping and improve demux of PCR chimeras. We do not recommend single end barcoding. Please ask for more details. | -20
Adaptor | New England Biolabs |  |  |  |  | If purchasing adaptor alone and not with the NEB barcode primers, contact customer service for a special quote | -20
TruSeq-compatible Mini Adaptor | IDT or other oligo synthesizer | N/A |  |  | https://docs.google.com/document/d/1Xx44haC744C1mOPFbLDsC7PRmLGYafLlqCezTdrhSpU/edit?tab=t.0#heading=h.e8olqj4n7lxk | As of October 2025, we recommend using these TruSeq-compatible mini adapters in place of the NEB adapters | -20
Thermo Scientific
Qubit RNA HS assay kit | Thermo Fisher | Q32855 | 500 | 301 | https://www.thermofisher.com/order/catalog/product/Q32852 |  | Room Temp & 4C
Qubit DNA HS Assay kit | Thermo Fisher | Q32854 | 500 | 298 | https://www.thermofisher.com/order/catalog/product/Q32854 |  | Room Temp & 4C
Qubit Assay tubes | Thermo Fisher | Q32856 | 500 | 87 | https://www.thermofisher.com/order/catalog/product/Q32856 | can use pcr optical tubes instead | Room Temp
Qubit machine for QC of nucleic acid | Thermo Fisher | Q33238/Q33240 (includes DNA HS in package deal) | 1 | 3300 | https://www.thermofisher.com/us/en/home/industrial/spectroscopy-elemental-isotope-analysis/molecular-spectroscopy/fluorometers/qubit.html |  | Room Temp
ERCC spike -ins | Thermo Fisher | 4456740 | 1 kit | 1319 | https://www.thermofisher.com/order/catalog/product/4456740 | dilute to 50pg/uL & aliquot for single use. Use the qubit to quantify the original concentration (approx 30ng/uL) | -80
Magnetic Stand-96 | Thermo Fisher | AM10027 | 1 | 435 | https://www.thermofisher.com/order/catalog/product/AM10027 | or equivalent 96 well magnetic stand, alternatively, you can get a PCR strip tube magnetic stand | Room Temp
ZYMO
Zymo Pathogen magbead | Zymo | R2145 | 96 preps | 243 | https://www.zymoresearch.com/collections/quick-dna-rna-pathogen-kits |  | Room Temp
Quick-DNA/RNA Microprep Plus Kit | Zymo | D7003 | 50 preps | 399 | https://www.zymoresearch.com/collections/quick-dna-rna-kits | You may want to check the other available kits for different sample types | Room Temp
RNA clean & concentration | Zymo | R1014 | 200 preps | 585 | https://www.zymoresearch.com/collections/rna-clean-concentrator-kits-rcc/products/rna-clean-concentrator-5 |  | Room Temp
Zymo RNA/DNA Shield 2x | Zymo | R1200-125 | 125mL | 241 | https://www.zymoresearch.com/products/dna-rna-shield | 2x for liquid samples, 1x for solids/tissues | Room Temp
Beckman Coulter
SPRIselect | Beckman | B23319 | 450 mL | 6900 | https://www.beckman.com/reagents/genomic/cleanup-and-size-selection/size-selection | This is expensive and you use a lot - we have an DIY/homemade SPRI bead protocol that we can train you on, cutting the cost by ~10-fold | 4C
Illumina
PhiX Control v3 FC-110-3001 | Illumina | FC-110-3001 | 10uL of 10nM | 170 | https://www.illumina.com/products/by-type/sequencing-kits/cluster-gen-sequencing-reagents/phix-control-v3.html | loading appriximate 1uL of a 100pM stock for each run | -20C
iSeq sequencing reagent pack | Illumina | 20021534 | 4 pack | 2375 | https://www.illumina.com/products/by-type/sequencing-kits/cluster-gen-sequencing-reagents/iseq-reagents.html | each cartridge can be multiplexed to 4-12 samples depending on the depth of sequencing required | -20C, defrost a full 24h+ in the 4C prior to starting
Filter kit | Illumina | 20023928 | 1 filter | 27 | https://www.illumina.com/systems/sequencing-platforms/iseq/order-iseq-100.html |  | Room Temp
Illumina 'dummy' kit | Illumina | 20024141 | 1 test kit | 600 |  | Contact illumina; good for 100+ uses | Room Temp
KAPA kits
KAPA HiFi HotStart Real-Time Library Amp Kit | Roche | KK2702 | 250 assays | 650 | https://sequencing.roche.com/en-us/products-solutions/by-category/library-preparation/library-amplification/kapa-library-amplification-kits/ordering.html | *This kit is discontinued as of 1/2024* only necessary if library is too low concentration, need to order P5/P7 primers separately! | -20C
KAPA HiFi HotStart Library Amp Kit | Roche | KK2611/KK2612 | 50/250 reactions | 126/525 | https://rochesequencingstore.com/catalog/kapa-lib-amp-kit/ | Use this kit as an alternative to the real-time kit above. Need to order P5/P7 primers separately | -20C
| Roche | KK4923 07960441001 | 500 assays | 604 | https://sequencing.roche.com/en-us/products-solutions/by-category/library-preparation/library-amplification/kapa-library-amplification-kits/ordering.html | an additional qPCR based quantification kit that is more reliable than qubit alone, they have several that are made for specific qPCR machines - please refer to the website | -20C
DNA Standards (1-6) only | Roche | KK4903 | 40 qPCR runs | 237 | https://sequencing.roche.com/en/products-solutions/by-category/library-preparation/library-quantification/kapa-library-quantification-kits/ordering.html | Standards with Illumina P5/P7 | -20C; at first opening, aliquot into strip tubes
Qiagen
QIAseq FastSelect RNA Removal Kit | Qiagen | 334386 | 24 (can dilute to 1:10, 240 reactions) | 1474 | https://www.qiagen.com/us/products/discovery-and-translational-research/next-generation-sequencing/rna-sequencing/ribosomal-rna-and-globin-mrna-removal/qiaseq-fastselect-rrna-hmr-kits/#orderinginformation | -rRNA for all samples; -Globin and rRNA for blood samples | -20C
DNAse I | Qiagen | 79256 | 250 | 701 | https://www.qiagen.com/us/products/discovery-and-translational-research/lab-essentials/enzymes/rnase-free-dnase-set/#orderinginformation | okay to use from other manufacturers | -20C
Agilent Tapestation
D5000 Reagents | Agilent | 5067-5589 | 105 samples | 107.00 USD | https://www.agilent.com/store/en_US/Prod-5067-5589/5067-5589 | QC of libraries | 4C
D5000 ScreenTape | Agilent | 5067-5588 | 105 samples | 251.00 USD | https://www.agilent.com/store/en_US/Prod-5067-5588/5067-5588 | QC of libraries | 4C
D5000 Ladder | Agilent | 5067-5590 | 20ul | 50.00 USD | https://www.agilent.com/store/en_US/Prod-5067-5590/5067-5590 | we always run out of ladder so buy extra! | 4C
High Sensitivity RNA ScreenTape | Agilent | 5067-5579 | 105 samples | 285 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-rna-screentape-reagents/high-sensitivity-rna-screentape-analysis-228267 | QC of input RNA | 4C
High Sensitivity RNA ScreenTape Sample Buffer | Agilent | 5067-5580 | 105 samples | 95 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-rna-screentape-reagents/high-sensitivity-rna-screentape-analysis-228267 | QC of input RNA | 4C
High Sensitivity RNA ScreenTape Ladder |  | 5067-5581 | 10 runs | 119 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-rna-screentape-reagents/high-sensitivity-rna-screentape-analysis-228267 | QC of input RNA | -20C
Loading Tips (2200 Tapestation), 1 Pk | Agilent | 5067-5153 | 384 tips | 143.00 USD | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-parts-accessories/2200-tapestation-parts-accessories-228265 | For 2200 model of Tapestation | Room Temp
Loading Tips (4150 or 4200 Tapestation), 10 Pk | Agilent | 5067-5599 | 10 x 112 tips | 465.00 USD | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-parts-accessories/tapestation-systems-parts-accessories-539298 | For 4150 or 4200 model of Tapestation | Room Temp
Needle Change Cartridge | Agilent | 5067-5783 | 1 cartridge | 216.00 USD | https://www.chem.agilent.com/store/productDetail.jsp?catalogId=5067-5783&catId=SubCat2ECS_227727 | Replace every 3840 pierces (lanes) | Room Temp
Eppendorf twin.tec PCR Plate 96, skirted | Eppendorf | 47744-122 | 25 Plates | 120 | https://online-shop.eppendorf.us/US-en/Laboratory-Consumables-44512/Plates-44516/Eppendorf-twin.tec-PCR-Plates-PF-8180.html?_ga=2.149694768.744336377.1533230970-1153812928.1533230970 | Only when running more than 15 samples - this is rare | Room Temp
RNase Decontamination
RNase Away | Invitrogen | 10328011 | 250ml | 84.00 USD | https://www.thermofisher.com/order/catalog/product/10328011?gclid=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB&ef_id=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB:G:s&s_kwcid=AL!3652!3!606515189508!!!g!!!16893189581!143415109412&cid=bid_sap_rst_r01_co_cp0000_pjt0000_bid00000_0se_gaw_dy_awa_con&gad_source=1 |  | Room Temp
RNase Zap | Invitrogen | AM9780 | 250ml | 97.50 USD | https://www.thermofisher.com/order/catalog/product/AM9780 |  | Room Temp
Qubit Reagents
RNA Quantification, high sensitivity | Invitrogen | Q32852 | 100 samples | 123.65 | https://www.thermofisher.com/order/catalog/product/Q32852?SID=srch-srp-Q32852 | RNA quantification | 4C
1X dsDNA, high sensitivity | Invitrogen | Q33230 | 100 samples | 132.65 | https://www.thermofisher.com/order/catalog/product/Q33230?SID=srch-srp-Q33230 | DNA quantification | 4C

## All Catalog Numbers for ONT RNA
Description | Supplier | Catalog number | Unit | Cost per unit (USD) | URL | Comments | Storage
Oxford Nanopore Technologies
Rapid PCR Barcoding Kit 24 V14 | Oxford Nanopore | SQK-RPB114.24 | 6 x 24 reactions | 699 | https://store.nanoporetech.com/us/rapid-pcr-barcoding-kit-24-v14.html | Can pool up to 24 samples per run; enough reagents for 6 runs | -20˚C
Flow Cell (R10.4.1) | Oxford Nanopore | FLO-MIN114 | 1 flow cell | 700 | https://store.nanoporetech.com/us/flow-cell-r10-4-1.html | Can be ordered in bulk to save on cost | 4˚C
Flow Cell Wash Kit | Oxford Nanopore | EXP-WSH004 | 6 washes | 99 | https://store.nanoporetech.com/us/flow-cell-wash.html |  | -20˚C
Thermofisher Scientific
SuperScript IV Reverse Transcriptase | Thermofisher | 18090050 | 50 reactions | 477 | https://www.thermofisher.com/order/catalog/product/18090010 | Old SMART-9N protocol | -20˚C
Maxima H Reverse Transcriptase | Thermofisher | EP0752 | 50 reactions | 251.65 | https://www.thermofisher.com/order/catalog/product/EP0752 | Used in new protocol on ONT website (old SMART-9N protocol uses the SuperScript IV) | -20˚C
RNase OUT | Thermofisher | 10777019 | 125 reactions | 230 | https://www.thermofisher.com/order/catalog/product/10777019 |  | -20˚C
Invitrogen Ultra Pure BSA (50 mg/mL) | Thermofisher | AM2616 | 200 flow-cell loadings | 230 | https://www.thermofisher.com/order/catalog/product/AM2616 | Optionally used when loading flow cell | -20˚C
Qubit RNA HS assay kit | Thermo Fisher | Q32855 | 500 | 301 | https://www.thermofisher.com/order/catalog/product/Q32852 |  | Room Temp & 4C
Qubit DNA HS Assay kit | Thermo Fisher | Q32854 | 500 | 298 | https://www.thermofisher.com/order/catalog/product/Q32854 |  | Room Temp & 4C
Qubit Assay tubes | Thermo Fisher | Q32856 | 500 | 87 | https://www.thermofisher.com/order/catalog/product/Q32856 | can use pcr optical tubes instead | Room Temp
Qubit machine for QC of nucleic acid | Thermo Fisher | Q33238/Q33240 (includes DNA HS in package deal) | 1 | 3300 | https://www.thermofisher.com/us/en/home/industrial/spectroscopy-elemental-isotope-analysis/molecular-spectroscopy/fluorometers/qubit.html |  | Room Temp
Magnetic Stand-96 | Thermo Fisher | AM10027 | 1 | 435 | https://www.thermofisher.com/order/catalog/product/AM10027 | or equivalent 96 well magnetic stand, alternatively, you can get a PCR strip tube magnetic stand | Room Temp
New England Biolabs (NEB)
LongAmp Taq 2X Master Mix | NEB | M0287S | 100 reactions | 155 | https://www.neb.com/en-us/products/m0287-longamp-taq-2x-master-mix |  | -20˚C
dNTP Solution Mix | NEB | N0447S | 800 reactions | 72 | https://www.neb.com/en-us/products/n0447-deoxynucleotide-dntp-solution-mix |  | -20˚C
Thermolabile Exonuclease I | NEB | M0568S | 150 reactions | 88 | https://www.neb.com/en-us/products/m0568-thermolabile-exonuclease-i?srsltid=AfmBOoqnFcYUzPqFHUqMKs0Tu-lk9mkQ5694n09MHfrvJ0nh5jMDOM9a |  | -20˚C
Integrated DNA Technologies (IDT) or other Oligo manufacturer
RNA Oligo: RLB TSO | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~50 | https://www.idtdna.com/pages/products/custom-dna-rna/custom-rna-oligos/rna-oligos |  | -80˚C
DNA Oligo RLB RT 9N | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB |  | -20˚C
DNA Oligo: RLB diag PCR | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB | Order as DNA oligo; not required but useful for troubleshooting | -20˚C
Agilent Tapestation
Agilent Tapestation Genomic DNA Reagents | Agilent | 5067-5589 | 105 samples | 227 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 | In case you do not have a Tapestation, you can use gel electrophoresis instead | 4C
Agilent Tapestation Genomic DNA ScreenTape | Agilent | 5067-5588 | 105 samples | 344 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C
ZYMO
Zymo Pathogen magbead | Zymo | R2145 | 96 preps | 243 | https://www.zymoresearch.com/collections/quick-dna-rna-pathogen-kits |  | Room Temp
Quick-DNA/RNA Microprep Plus Kit | Zymo | D7003 | 50 preps | 399 | https://www.zymoresearch.com/collections/quick-dna-rna-kits | You may want to check the other available kits for different sample types | Room Temp
RNA clean & concentration | Zymo | R1014 | 200 preps | 585 | https://www.zymoresearch.com/collections/rna-clean-concentrator-kits-rcc/products/rna-clean-concentrator-5 |  | Room Temp
Zymo RNA/DNA Shield 2x | Zymo | R1200-125 | 125mL | 241 | https://www.zymoresearch.com/products/dna-rna-shield | 2x for liquid samples, 1x for solids/tissues | Room Temp
Beckman Coulter
SPRIselect | Beckman | B23319 | 450 mL | 6900 | https://www.beckman.com/reagents/genomic/cleanup-and-size-selection/size-selection | This is expensive and you use a lot - we have an DIY/homemade SPRI bead protocol that we can train you on, cutting the cost by ~10-fold | 4C
RNase Decontamination
RNase Away | Invitrogen | 10328011 | 250ml | 84.00 USD | https://www.thermofisher.com/order/catalog/product/10328011?gclid=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB&ef_id=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB:G:s&s_kwcid=AL!3652!3!606515189508!!!g!!!16893189581!143415109412&cid=bid_sap_rst_r01_co_cp0000_pjt0000_bid00000_0se_gaw_dy_awa_con&gad_source=1 |  | Room Temp
RNase Zap | Invitrogen | AM9780 | 250ml | 97.50 USD | https://www.thermofisher.com/order/catalog/product/AM9780 |  | Room Temp
ONT specific reagents and equipment
Reagent | Manufacturer | Catalog Number | Number of reactions | Price ($) | Link | Notes | Storage | Type
Rapid PCR Barcoding Kit 24 V14 | Oxford Nanopore | SQK-RPB114.24 | 6 x 24 reactions | 699 | https://store.nanoporetech.com/us/rapid-pcr-barcoding-kit-24-v14.html | Can pool up to 24 samples per run; enough reagents for 6 runs | -20˚C | Reagent
Flow Cell (R10.4.1) | Oxford Nanopore | FLO-MIN114 | 1 flow cell | 700 | https://store.nanoporetech.com/us/flow-cell-r10-4-1.html | Can be ordered in bulk to save on cost; flow cells can be reused if sufficient pores remain, so you can potentially do multiple sequencing runs with one flow cell | 4˚C | Reagent
Flow Cell Wash Kit | Oxford Nanopore | EXP-WSH004 | 6 washes | 99 | https://store.nanoporetech.com/us/flow-cell-wash.html | 1 wash of the flow cell is done after a sequencing run if the flow cell is going to be reused | -20˚C | Reagent
Maxima H Reverse Transcriptase | Thermofisher | EP0752 | 50 reactions | 251.65 | https://www.thermofisher.com/order/catalog/product/EP0752 | Used in new protocol on ONT website (old SMART-9N protocol uses the SuperScript IV) | -20˚C | Reagent
SuperScript IV Reverse Transcriptase | Thermofisher | 18090050 | 50 reactions | 477 | https://www.thermofisher.com/order/catalog/product/18090010 |  | -20˚C | Reagent
RNase OUT | Thermofisher | 10777019 | 125 reactions | 230 | https://www.thermofisher.com/order/catalog/product/10777019 |  | -20˚C | Reagent
Invitrogen Ultra Pure BSA (50 mg/mL) | Thermofisher | AM2616 | 200 flow-cell loadings | 230 | https://www.thermofisher.com/order/catalog/product/AM2616 | Optionally used when loading flow cell | -20˚C | Reagent
LongAmp Taq 2X Master Mix | NEB | M0287S | 100 reactions | 155 | https://www.neb.com/en-us/products/m0287-longamp-taq-2x-master-mix | If libraries need to be reamplified, you will use 2 reactions worth per sample | -20˚C | Reagent
dNTP Solution Mix | NEB | N0447S | 800 reactions | 72 | https://www.neb.com/en-us/products/n0447-deoxynucleotide-dntp-solution-mix |  | -20˚C | Reagent
RNA Oligo: RLB TSO | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~50 | https://www.idtdna.com/pages/products/custom-dna-rna/custom-rna-oligos/rna-oligos |  | -80˚C | Reagent
DNA Oligo: RLB RT 9N | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB |  | -20˚C | Reagent
DNA Oligo: RLB diag PCR | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB | Order as DNA oligo; not required but useful for troubleshooting | -20˚C | Reagent
Agilent Tapestation Genomic DNA Reagents | Agilent | 5067-5589 | 105 samples | 227 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C | Reagent
Agilent Tapestation Genomic DNA ScreenTape | Agilent | 5067-5588 | 105 samples | 344 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C | Reagent
Equipment | Manufacturer | Catalog Number | Number of reactions | Price ($) | Link | Notes | Storage | Type
MinION Mk1b | Oxford Nanopore | MIN-101B | 1 | 1999 | https://store.nanoporetech.com/us/minion.html | This is a starter pack that includes warranty, 1 flow cell and library prep kit |  | Equipment

## Shipment notes
Shipment notes
1. General Preparation
Decide on logisitcs company for shipment
2. Packaging & Labeling
Include temperature loggers in cold/frozen shipments.
Label packages with handling instructions
3. Documents to Include
Customd Invoice (detailed, with value and HS codes).
Packing List.
MSDS/SDS for any chemical or biological materials. (if applicable)
Import Permit (if applicable).
Declaration (stating educational/workshop use, not for resale)/ Letter of Explanation to Customs.
Contact Information of Receiver
4. Customs & Delivery
Send tracking information to receiving team
Confirm clearance procedure and timeline
Assign local partner to handle customs clearance upon arrival.
Certificate Summary | Focus | Applies To | Key Use
SDS | Safety & handling | Product | Customs, lab safety
COA | Quality/specs of a lot | Product lot | QC, reproducibility
ISO Cert | Quality management system | Company | Compliance, vendor approval

## Instructions
RR mNGS Equipment, Reagent & Supply Master List
Purpose
This workbook provides a starting point for planning mNGS workshops, bringing together equipment, lab supplies, reagents, samples, computing needs, and workshop materials from previous trainings. Review and tailor the list to each workshop’s goals, protocols, number of participants, and available resources.
Planning baseline
Planning quantities: the Approx. Planning Qty column provides initial estimates based on 12–15 trainees working across 4–6 benches. Since workshop size and needs will vary, use these estimates as a starting point and adjust them to the actual participant count, bench setup, and planned protocols. The Lead Trainer or Scientific Lead should confirm the Final Qty Needed for each workshop.
How to use
1. Review the full catalog with the Lead Trainer and host site.
2. Use Approx. Planning Qty as the starting point, then enter the workshop-specific Final Qty Needed after the protocol, sample set, trainee count, and bench configuration are confirmed.
3. Enter On-site Availability and Qty On-site only after equipment/supplies have been verified. “Available” should mean operational, compatible, reserved/accessible, and supported by the required consumables.
4. Confirm the Final Qty Needed and Qty On-site, then enter the additional quantity required in Qty to Procure.
5. Assign the Source / Procuring Institution and Owner, then use Status to track readiness.
6. Use Storage / Box Location, and Shipping / Storage Requirements to manage local sourcing, shipment/hand-carry, inventory, and temperature-controlled materials.
Standing best practices from prior workshops
Bench-based setup | Plan approximately one per bench where feasible, if resources are limited (e.g., pipette sets, magnetic stands, racks, ice buckets, waste containers, timers).
Compatibility first | Confirm pipette-tip compatibility, thermocycler tube/plate profile, centrifuge rotor/format, assay consumables, and sequencing-platform compatibility before procurement.
Reagent contingency | The Playbook recommends planning approximately 2× anticipated critical reagents where feasible to cover failures or repeat work. Apply this based on cost, stability, and protocol requirements.
Sequencing contingency | Keep at least one extra sequencing kit / flow cell available when feasible in case of a sequencing-run failure.
Inventory + storage | Assign a physical storage/box location for shipped or prepared materials and verify receipt, temperature, and inventory before training.
Dry-lab readiness | Plan one laptop and one required account/access pathway per trainee when exercises are individual; test internet and account access before the training.
Fresh preparations | Prepare working solutions such as 85% ethanol according to the protocol and station count; ~5 mL per station.
Additional resources:
We also have this starter kit reagent list: https://docs.google.com/spreadsheets/d/1F_G5rRGcKquOs-43f2kvt2vRyPonTR9PyvnsdjtD--A/edit?gid=0#gid=0