## Slide 1: Disclaimer
This training resource was developed to be used with the CZ ID platform
In October, 2026, stewardship of CZ ID transitioned to UCSF and the platform was renamed to SeqtoID
These training materials are not being actively maintained and may not reflect differences between CZ ID and SeqtoID, subsequent changes to the platform, or current methods and best practices in metagenomic sequencing and analysis

## Slide 2
CZ ID mNGS Nanopore Pipeline
Rapid Response – Updated Sept 2026
Notes: Slides updated 07/02/2024

## Slide 3: mNGS Nanopore Pipeline Highlights
Developed in collaboration with bioinformatics team from Oxford Nanopore Technologies (ONT)
Pipeline accurately identifies microbes from a range of samples:
    Mock microbial communities
    Cell culture
    Humans (stool, nasal samples)
    Insects (mosquitos)
    Environmental (hot springs)

## Slide 4
Sample Collection
DNA or RNA Extraction
Library
Preparation
Sequencing
Bioinformatic Analysis
mNGS Workflow Overview
mNGS
Taxonomic Identification
Microbiome analysis
Discovery

## Slide 5: Focus for this workshop
Pathogen identification in stool samples and nasopharyngeal swabs

## Slide 6: Sequence File Formats: FASTA vs FASTQ
Notes: What’s what

## Slide 7: Sequence File Formats
General
  FASTA
  FASTQ (Includes sequence identifier, sequence, and quality scores for base calls)
Nanopore-specific formats
  FAST5
  POD5

## Slide 8: Nanopore Specific formats
Feature | POD5 | Older FAST5
File format | Binary (Apache Arrow-style, columnar) | HDF5-based (hierarchical)
Speed | High (parallel I/O optimized) | Slower with random access issues
Size | Smaller (less overhead) | Larger
Basecaller support | Dorado, Guppy (via pod5-api) | Guppy, older tools
Ecosystem | Actively maintained by ONT | Being phased out
Notes: POD5 is analyzed in parallel any column can be accessed at any time, while FAST5 is hierarchical

## Slide 9: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Upload & Data Pre-processing
Notes:
Pipeline only accepts FASTQ files (FAST5 files must be converted)
You can upload files through the web app or command line interface (CLI)
            The ONT pipeline does not complete adapter/barcode trimming, so FASTQ files must be trimmed prior to upload
            Only one file per sample:
                Multiple FASTQ files for a given sample will be automatically concatenated if filenames follow a certain format and are associated with the same barcode (see Automatic Concatenation of Nanopore Files for details)
                If filenames do not follow the format recognized by the platform, you need to concatenate (or combine) them into a single file before upload
            Reads with midread barcodes detected should be filtered prior to upload (see more on the Prepare ONT fastqs for upload to CZ ID slide deck)

## Slide 10: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Upload & Data Pre-processing
Quality, Host & Human Filtering
(fastp & minimap2)
Subsampling to 1M reads
Adapter trimming occurred on the basecaller software
Minimum Q ⩾ 9
Length ⩾ 100
Complexity > 30%
Host filtering is splice aware if input is RNA

## Slide 11: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Upload & Data Pre-processing
Quality, Host & Human Filtering
(fastp & minimap2)
Subsampling to 1M reads
Assembly
(metaFlye)
Contigs
Assembly & Mapping
Notes:
metaFlye only assembles reads > 1kb
(in many cases we don’t see contigs)

## Slide 12: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Upload & Data Pre-processing
Quality, Host & Human Filtering
(fastp & minimap2)
Subsampling to 1M reads
Assembly
(metaFlye)
Mapping reads to contigs
(minimap2)
Contigs
Unassembled reads
Assembly & Mapping
Subtraction of contig-associated reads
(Samtools)

## Slide 13: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Upload & Data Pre-processing
Quality + Host Filtering
(fastp & minimap2)
Subsampling to 1M reads
Assembly
(metaFlye)
Subtraction of contig-associated reads
(minimap2)
Contigs
Unassembled reads
Assembly & Mapping
Contig alignment against NT and NR databases
(minimap2 & DIAMOND)
Unassembled read alignment against NT database
(minimap2)
Species Identification
Notes: So if something doesn’t have an NR hot it is probably because is less than 1Kb

## Slide 14: mNGS Nanopore Pipeline Workflow CZ ID
Nanopore data
(FASTQ files)
Assembly
(metaFlye)
Subtraction of contig-associated reads
(minimap2)
Contigs
Unassembled reads
Contig alignment against NT and NR databases
(minimap2 & DIAMOND)
Unassembled read alignment against NT database
(minimap2)
Species Identification
Assembly & Mapping
Upload & Data Pre-processing
Merge results
(Aggregate total bases per taxon)
Report
Sample Report
Host + Quality Filtering
(minimap2)
Subsampling to 1M reads

## Slide 15: Things to note
mNGS Nanopore pipeline is limited compared to the Illumina pipeline
  No QC visualization on CZ ID
  No background models on CZ ID (more on that later)
  No consensus genomes on CZ ID
  No visualization to compare samples (heatmap, trees)
  Heatmap and background model alternative: No-code interactive app accessed via github
Notes: https://github.com/gowtham-thakku/ont-heatmap
https://ont-heatmap.streamlit.app/

## Slide 16: CZ ID mNGS Pipeline for ONT review complete!
Next Slides: DL5-O_QC and interpretation slides for ONT

## Slide 17: Resources
Preprint describing the mNGS Nanopore pipeline and its implementation.
  CZ ID: a cloud-based, no-code platform enabling advanced long read metagenomic analysis
See “how-to” guides in CZ ID’s Help Center:
  Upload Nanopore Data
  Analyze Nanopore Data
To learn more about the pipeline, see Nanopore Pipeline Validation or click here to view pipeline changes over time.
“Mid-read” barcode trimming tool
Heatmap visualization and background subtraction tool