## All reagents
Description | Supplier | Catalog number | Unit | Cost per unit (USD) | URL | Comments | Storage
Oxford Nanopore Technologies
Rapid PCR Barcoding Kit 24 V14 | Oxford Nanopore | SQK-RPB114.24 | 6 x 24 reactions | 699 | https://store.nanoporetech.com/us/rapid-pcr-barcoding-kit-24-v14.html | Can pool up to 24 samples per run; enough reagents for 6 runs | -20˚C
Flow Cell (R10.4.1) | Oxford Nanopore | FLO-MIN114 | 1 flow cell | 700 | https://store.nanoporetech.com/us/flow-cell-r10-4-1.html | Can be ordered in bulk to save on cost | 4˚C
Flow Cell Wash Kit | Oxford Nanopore | EXP-WSH004 | 6 washes | 99 | https://store.nanoporetech.com/us/flow-cell-wash.html |  | -20˚C
Thermofisher Scientific
SuperScript IV Reverse Transcriptase | Thermofisher | 18090050 | 50 reactions | 477 | https://www.thermofisher.com/order/catalog/product/18090010 | Old SMART-9N protocol | -20˚C
Maxima H Reverse Transcriptase | Thermofisher | EP0752 | 50 reactions | 251.65 | https://www.thermofisher.com/order/catalog/product/EP0752 | Used in new protocol on ONT website (old SMART-9N protocol uses the SuperScript IV) | -20˚C
RNase OUT | Thermofisher | 10777019 | 125 reactions | 230 | https://www.thermofisher.com/order/catalog/product/10777019 |  | -20˚C
Invitrogen Ultra Pure BSA (50 mg/mL) | Thermofisher | AM2616 | 200 flow-cell loadings | 230 | https://www.thermofisher.com/order/catalog/product/AM2616 | Optionally used when loading flow cell | -20˚C
Qubit RNA HS assay kit | Thermo Fisher | Q32855 | 500 | 301 | https://www.thermofisher.com/order/catalog/product/Q32852 |  | Room Temp & 4C
Qubit DNA HS Assay kit | Thermo Fisher | Q32854 | 500 | 298 | https://www.thermofisher.com/order/catalog/product/Q32854 |  | Room Temp & 4C
Qubit Assay tubes | Thermo Fisher | Q32856 | 500 | 87 | https://www.thermofisher.com/order/catalog/product/Q32856 | can use pcr optical tubes instead | Room Temp
Qubit machine for QC of nucleic acid | Thermo Fisher | Q33238/Q33240 (includes DNA HS in package deal) | 1 | 3300 | https://www.thermofisher.com/us/en/home/industrial/spectroscopy-elemental-isotope-analysis/molecular-spectroscopy/fluorometers/qubit.html |  | Room Temp
Magnetic Stand-96 | Thermo Fisher | AM10027 | 1 | 435 | https://www.thermofisher.com/order/catalog/product/AM10027 | or equivalent 96 well magnetic stand, alternatively, you can get a PCR strip tube magnetic stand | Room Temp
New England Biolabs (NEB)
LongAmp Taq 2X Master Mix | NEB | M0287S | 100 reactions | 155 | https://www.neb.com/en-us/products/m0287-longamp-taq-2x-master-mix |  | -20˚C
dNTP Solution Mix | NEB | N0447S | 800 reactions | 72 | https://www.neb.com/en-us/products/n0447-deoxynucleotide-dntp-solution-mix |  | -20˚C
Thermolabile Exonuclease I | NEB | M0568S | 150 reactions | 88 | https://www.neb.com/en-us/products/m0568-thermolabile-exonuclease-i?srsltid=AfmBOoqnFcYUzPqFHUqMKs0Tu-lk9mkQ5694n09MHfrvJ0nh5jMDOM9a |  | -20˚C
Integrated DNA Technologies (IDT) or other Oligo manufacturer
RNA Oligo: RLB TSO | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~50 | https://www.idtdna.com/pages/products/custom-dna-rna/custom-rna-oligos/rna-oligos |  | -80˚C
DNA Oligo RLB RT 9N | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB |  | -20˚C
DNA Oligo: RLB diag PCR | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB | Order as DNA oligo; not required but useful for troubleshooting | -20˚C
Agilent Tapestation
Agilent Tapestation Genomic DNA Reagents | Agilent | 5067-5589 | 105 samples | 227 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 | In case you do not have a Tapestation, you can use gel electrophoresis instead | 4C
Agilent Tapestation Genomic DNA ScreenTape | Agilent | 5067-5588 | 105 samples | 344 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C
ZYMO
Zymo Pathogen magbead | Zymo | R2145 | 96 preps | 243 | https://www.zymoresearch.com/collections/quick-dna-rna-pathogen-kits |  | Room Temp
Quick-DNA/RNA Microprep Plus Kit | Zymo | D7003 | 50 preps | 399 | https://www.zymoresearch.com/collections/quick-dna-rna-kits | You may want to check the other available kits for different sample types | Room Temp
RNA clean & concentration | Zymo | R1014 | 200 preps | 585 | https://www.zymoresearch.com/collections/rna-clean-concentrator-kits-rcc/products/rna-clean-concentrator-5 |  | Room Temp
Zymo RNA/DNA Shield 2x | Zymo | R1200-125 | 125mL | 241 | https://www.zymoresearch.com/products/dna-rna-shield | 2x for liquid samples, 1x for solids/tissues | Room Temp
Beckman Coulter
SPRIselect | Beckman | B23319 | 450 mL | 6900 | https://www.beckman.com/reagents/genomic/cleanup-and-size-selection/size-selection | This is expensive and you use a lot - we have an DIY/homemade SPRI bead protocol that we can train you on, cutting the cost by ~10-fold | 4C
RNase Decontamination
RNase Away | Invitrogen | 10328011 | 250ml | 84.00 USD | https://www.thermofisher.com/order/catalog/product/10328011?gclid=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB&ef_id=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB:G:s&s_kwcid=AL!3652!3!606515189508!!!g!!!16893189581!143415109412&cid=bid_sap_rst_r01_co_cp0000_pjt0000_bid00000_0se_gaw_dy_awa_con&gad_source=1 |  | Room Temp
RNase Zap | Invitrogen | AM9780 | 250ml | 97.50 USD | https://www.thermofisher.com/order/catalog/product/AM9780 |  | Room Temp

## ONT-specific reagents
ONT specific reagents and equipment
Reagent | Manufacturer | Catalog Number | Number of reactions | Price ($) | Link | Notes | Storage | Type
Rapid PCR Barcoding Kit 24 V14 | Oxford Nanopore | SQK-RPB114.24 | 6 x 24 reactions | 699 | https://store.nanoporetech.com/us/rapid-pcr-barcoding-kit-24-v14.html | Can pool up to 24 samples per run; enough reagents for 6 runs | -20˚C | Reagent
Flow Cell (R10.4.1) | Oxford Nanopore | FLO-MIN114 | 1 flow cell | 700 | https://store.nanoporetech.com/us/flow-cell-r10-4-1.html | Can be ordered in bulk to save on cost; flow cells can be reused if sufficient pores remain, so you can potentially do multiple sequencing runs with one flow cell | 4˚C | Reagent
Flow Cell Wash Kit | Oxford Nanopore | EXP-WSH004 | 6 washes | 99 | https://store.nanoporetech.com/us/flow-cell-wash.html | 1 wash of the flow cell is done after a sequencing run if the flow cell is going to be reused | -20˚C | Reagent
Maxima H Reverse Transcriptase | Thermofisher | EP0752 | 50 reactions | 251.65 | https://www.thermofisher.com/order/catalog/product/EP0752 | Used in new protocol on ONT website (old SMART-9N protocol uses the SuperScript IV) | -20˚C | Reagent
SuperScript IV Reverse Transcriptase | Thermofisher | 18090050 | 50 reactions | 477 | https://www.thermofisher.com/order/catalog/product/18090010 |  | -20˚C | Reagent
RNase OUT | Thermofisher | 10777019 | 125 reactions | 230 | https://www.thermofisher.com/order/catalog/product/10777019 |  | -20˚C | Reagent
Invitrogen Ultra Pure BSA (50 mg/mL) | Thermofisher | AM2616 | 200 flow-cell loadings | 230 | https://www.thermofisher.com/order/catalog/product/AM2616 | Optionally used when loading flow cell | -20˚C | Reagent
LongAmp Taq 2X Master Mix | NEB | M0287S | 100 reactions | 155 | https://www.neb.com/en-us/products/m0287-longamp-taq-2x-master-mix | If libraries need to be reamplified, you will use 2 reactions worth per sample | -20˚C | Reagent
dNTP Solution Mix | NEB | N0447S | 800 reactions | 72 | https://www.neb.com/en-us/products/n0447-deoxynucleotide-dntp-solution-mix |  | -20˚C | Reagent
RNA Oligo: RLB TSO | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~50 | https://www.idtdna.com/pages/products/custom-dna-rna/custom-rna-oligos/rna-oligos |  | -80˚C | Reagent
DNA Oligo: RLB RT 9N | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB |  | -20˚C | Reagent
DNA Oligo: RLB diag PCR | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB | Order as DNA oligo; not required but useful for troubleshooting | -20˚C | Reagent
Agilent Tapestation Genomic DNA Reagents | Agilent | 5067-5589 | 105 samples | 227 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C | Reagent
Agilent Tapestation Genomic DNA ScreenTape | Agilent | 5067-5588 | 105 samples | 344 | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 |  | 4C | Reagent
Equipment | Manufacturer | Catalog Number | Number of reactions | Price ($) | Link | Notes | Storage | Type
MinION Mk1b | Oxford Nanopore | MIN-101B | 1 | 1999 | https://store.nanoporetech.com/us/minion.html | This is a starter pack that includes warranty, 1 flow cell and library prep kit |  | Equipment