## Protocol
Watchmaker Illumina RNA Library Prep Worksheet
Date:
Experiment:
Workflow: 1. RNA Fragmentation + Priming; 2. First strand cDNA synthesis; 3. Second strand cDNA synthesis + Poly A; 4. Adapter Ligation; 5. SPRI clean-up + size selection; 6. Barcoding PCR; 7. SPRI clean-up + size selection. These protocols are an adaptation of the Watchmaker RNA Library Prep Kit Protocol.
General Notes: * Keep all samples, buffers, and enzymes on ice unless noted * Thaw all buffers on ice, then invert, vortex >5s, and spin down * Enzymes and Equinox should be on ice before use; invert 10x * Vortex (or pipette >10x) + spin down all master mixes * Always centrifuge all tubes prior to opening * Calculations in this worksheet include a 10% overage for pipetting variation
1. FastSelect + Fragmentation + Priming
Reagent | One full reaction | X reactions
|  | X = | 4
| vol stock (µL) | vol stock (µL)
RNA sample (top up with water if needed) | 13.5 | 13.5
25pg ERCC Spike-in (50pg/uL stock) | 0.5 | 2.2
Frag and Prime Buffer | 10 | 44
*QIAseq FastSelect (1:10) rRNA | 1 | 4.4
Master Mix volume (MM) | 11.5 | 50.6
Total volume | 25 | 25 each
Blue = Reagents to add to master mix |  | Add 11.5 uL MM to RNA sample
*FastSelect is designed for removing human rRNA, omit this reagent if not using human derived samples and only incubate at 85°C and then directly to 4°C (omit ramping down steps). ** Fragmentation is optional and dependent on input RNA quality. Refer to manufacturer protocol for guidelines. For low input or low quality samples, we recommend ommitting. Mix the master mix and final rxns by pipetting up and down. Thermocycler (heated lid set to 105˚C): · Pre-heat hold at 85°C · (0-5 min at 85°C)** · 2 min 75C · 2 min 70C · 2 min 65C · 2 min 60C · 2 min 55C · 5 min 37C · 5 min 25C · Hold 4°C
2. First Strand Synthesis
Reagent | One full reaction | X reactions
|  | X = | 4
| vol stock (µL) | vol stock (µL)
Fragmented & primed RNA | 25 | 25 each
1st Strand Buffer* | 9 | 39.6
1st Strand Enzyme | 1 | 4.4
Master Mix volume | 10 | 44
Total volume | 35 | 35 each
Orange = Reagents to add to master mix |  | Add 10µL MM to frag/primed RNA
* 1st Strand Buffer is photosensitive. Protect from light. Mix the master mix and final rxns by pipetting up and down Thermocycler (heated lid set to 105˚C): · Pre-heat hold at 25°C · 10 mins at 25°C · 15 mins at 42°C · 15 mins at 70°C · Hold at 4˚C
3. Second Strand Synthesis and A-Tailing
Reagent | One full reaction | X reactions
|  | X = | 4
| vol stock (uL) | vol stock (uL)
First strand synthesized DNA | 35 | 35 each
2nd Strand Buffer | 14 | 61.6
2nd Strand Enzyme | 1 | 4.4
Master Mix volume | 15 | 66
Total volume | 50 | 50 each
Green = Reagents to add to master mix |  | Add 15 uL MM to ss-cDNA
Mix the master mix and final rxns by pipetting up and down Thermocycler (heated lid set to 80˚C): · Pre-heat hold at 42°C · 5 mins at 42°C · 10 mins at 62°C · Hold at 4˚C During incubation, prepare mini adapter
4. Adapter Ligation
Ensure adaptors are at appropriate concentration. Dilute adaptors prior to making master mix if needed. Add adaptor separately after ligation buffer and ligation enzyme to avoid adaptor dimers.
Reagent | One full reaction | X reactions
|  | X = | 4
| vol stock (uL) | vol stock (uL)
ds-cDNA | 50 | 50 each
Ligation Buffer* | 40 | 176
Ligation Enzyme | 5 | 22
Diluted adapter | 5 | -
Master Mix volume | 45 | 198
Total volume | 100 | 100 each
Pink = Reagents to add to master mix |  | Add 45 uL mix to ds-cDNA
Add 5uL diluted adapter to mix
* Vortex the thawed Ligation Buffer for 20 sec to fully homogenize, then centrifuge to collect at the bottom of the tube and place it on ice. Thermocycler (heated lid off): · Pre-heat hold at 20˚C · 15 mins at 20˚C · Hold at 4˚C
5. SPRI Bead Clean-up and Size Selection
SPRI bead ratio: | 0.9
Sample volume (per full rxn): | 100
SPRI to add (per rxn): | 90
Elution volume (per rxn): | 22
Aspiration volume (per rxn): | 20
SPRI clean-up protocol: *allow beads to sit in RT for 30 mins prior. Ensure you have enough 80% ethanol. 1. Add room temperature beads to rxn. Mix well by pipetting up and down 10 times. 2. Incubate for 5 mins at room temperature. 3. Place samples on magnetic rack, and incubate for 5 mins on the rack. 4. Remove supernatant 5. Add 200uL of 80% EtOH to samples while on the magnetic rack. Do not disturb beads. 6. Incubate at room temperature for 30s and remove the supernatant. 7. Repeat EtOH wash step once for a total of 2 washes. 8. Remove any excess EtOH with a p10 or p20 pipette. 9. Air dry the beads for 2-5 mins while on the magnetic rack. Watch beads carefully throughout this incubation to avoid overdrying. Smaller bead pellets dry faster. Trust your eyes more than the timer. 10. Remove tube from magnetic rack. Add desired elution volume of nuclease-free water. 11. Pipette to mix well and incubate for 2 mins at room temperature off the magnetic rack. 12. Pulse spin tubes and place on magnetic rack until solution is clear, ~ 5 mins. 13. Aspirate supernatant and transfer to a clean nuclease free PCR tube. **Checkpoint: Samples can be stored frozen at -20°C and library prep resumed the next day.
6. Barcoding PCR
Thaw Equinox master mix on ice, then vortex and spin
Reagent | One reaction | X reactions
|  | X = | 4
| vol stock (ul) | vol stock (ul)
Purified, adaptor-ligated ds-cDNA | 7.5* | 7.5 each
Equinox Amplification Master Mix (2x) | 12.5 | 12.5 each
5uM each i5/i7 barcoded primers (NEB index primer/TruSeq/or similar) | 5 (*premixed) | 5 unique for each sample
Total volume | 25 | 25 each
* Note: only a fraction of the sample volume is input to the Barcoding PCR Record adaptor barcode assignments
Thermocycler (lid at 105˚C) | Cycles
98 °C for 45s | 1
98 °C for 15s | 7-15**
55 °C for 30s
72 ˚C for 30s
72˚C for 1 min | 1
Hold at 10˚C
** # of PCR cycles is dependent on RNA input and adapters used. Refer to manufacturer protocol for complete guidelines
7. SPRI Bead Clean-up and Size Selection
SPRI bead ratio: | 0.9
Sample volume (per full rxn): | 25
SPRI to add (per full rxn): | 22.5
Elution volume (per full rxn): | 22
Aspiration volume (per full rxn): | 20
*See Step 5 for SPRI clean-up protocol **Checkpoint: Samples can be stored frozen at -20 °C and library prep resumed the next day.