## README
mNGS starter kit reagent list
Last updated | 15 Sept 2026
This document is intended to provide guidance for reagent procurement to prepare for generating RNA metagenomics libraries for sequencing.
1. Start with the General reagents tab - these items are required for all workflows
Note the "Platform" field and procure items according to your intended sequencing platform (Illumina or ONT)
2. Select a Starter Kit Option - only one is needed and all are sufficient options for RNA mNGS library preparation

## General reagents
Module | Platform | Description | Supplier | Catalog number | Unit | Cost per unit (USD) | URL | Comments | Storage | Importance
Sample collection | All | Zymo RNA/DNA Shield 2x | Zymo | R1200-125 | 125mL | 263 | https://www.zymoresearch.com/products/dna-rna-shield | 2x for liquid samples, 1x for solids/tissues | Room Temp | Essential for maintaining RNA/DNA integrity; better than other commercial alternatives
Molecular lab supplies | All | RNase Away | Invitrogen | 10328011 | 250ml | 95 | https://www.thermofisher.com/order/catalog/product/10328011?gclid=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB&ef_id=Cj0KCQjwn7mwBhCiARIsAGoxjaKRzwvgISUMs3H3SFDccd9ZW_J3Q0t1PYZDynMIND-iDip8nkA2Ku4aArq5EALw_wcB:G:s&s_kwcid=AL!3652!3!606515189508!!!g!!!16893189581!143415109412&cid=bid_sap_rst_r01_co_cp0000_pjt0000_bid00000_0se_gaw_dy_awa_con&gad_source=1 |  | Room Temp
| All | RNase Zap | Invitrogen | AM9780 | 250ml | 107 | https://www.thermofisher.com/order/catalog/product/AM9780 |  | Room Temp
| All | Molecular grade water | Thermo Fisher / Various Suppliers | 10977015 | 500ml | 62 | https://www.thermofisher.com/order/catalog/product/10977015?ef_id=Cj0KCQiAo4TKBhDRARIsAGW29bfqre4bTDHytLUXCX_WkOwyjxJhb1U8jknpullwyQo-NpJwA-KOL64aArEqEALw_wcB:G:s&s_kwcid=AL!3652!3!572074520823!b!!g!!nuclease-free%20water!11199571103!118288780028&cid=bid_mol_pch_r01_co_cp1358_pjt0000_bid00000_0se_gaw_nt_pur_con&gad_source=1&gad_campaignid=11199571103&gbraid=0AAAAADxi_GQf8cPpb94BUTgBN4P4tg5tu&gclid=Cj0KCQiAo4TKBhDRARIsAGW29bfqre4bTDHytLUXCX_WkOwyjxJhb1U8jknpullwyQo-NpJwA-KOL64aArEqEALw_wcB | Purchase pre-aliquoted or create clean 1ml aliquots upon receipt | Room Temp
| All | 50bp ladder | Thermo Fisher | 10416014 |  | 131 | https://www.thermofisher.com/order/catalog/product/10416014?SID=srch-srp-10416014
DNA/RNA extraction | All | Zymo Quick-DNA/RNA Pathogen MagBead | Zymo | R2145 | 96 preps | 352 | https://www.zymoresearch.com/collections/quick-dna-rna-pathogen-kits | Other kits work well too. General bead-based extraction kit; different kits may be better for specific sample types; good for higher throughput | Room Temp
| All | Zymo Quick-DNA/RNA Microprep Plus Kit | Zymo | D7005 | 50 preps | 480 | https://www.zymoresearch.com/collections/quick-dna-rna-kits/products/quick-dna-rna-microprep-plus-kit | Other kits work well too. General column-based extraction kit; different kits may be better for specific sample types; good for samples with low yields; low elution volume | Room Temp
| All | DNAse I | Qiagen | 79256 | 250 | 776 | https://www.qiagen.com/us/products/discovery-and-translational-research/lab-essentials/enzymes/rnase-free-dnase-set/#orderinginformation | okay to use from other manufacturers | -20C
Sample QC | All | Qubit RNA HS assay kit (buffer, dye, and standards) | Thermo Fisher | Q32855 | 500 assays | 452 | https://www.thermofisher.com/order/catalog/product/Q32852 |  | Room Temp & 4C | Qubit is best for quantification
| All | Tapestation High Sensitivity RNA kit | Agilent | 5067-5579, 5067-5580, 5067-5581 (order all three for kit) | 105 samples |  | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-rna-screentape-reagents/high-sensitivity-rna-screentape-analysis-228267 | QC of input RNA with tapestation; must have proper consumables such as tips (Catalog number 5067-5599) | -20 & 4C
Clean-up and size selection (order one item from this section) | Order one from this section | SPRIselect | Beckman | B23317 / B23318 / B23319 | 5ml / 60ml / 450ml | 461 / 1722 / 8368 | https://www.beckman.com/reagents/genomic/cleanup-and-size-selection/size-selection/b23318
|  | Illumina Purification Beads | Illumina | 20119944 / 20060057 / 20060058 | 30ml / 100ml / 400ml | 540 / 1242 / 3240 | https://www.illumina.com/content/dam/illumina/gcs/assembled-assets/marketing-literature/illumina-purification-beads-flyer-m-gl-02514/illumina-purification-beads-flyer-m-gl-02514.pdf | The most cost-effective; interchangeable with SPRIselect and AmpureXP in protocols
|  | AmpureXP | Beckman | A63880 / A63881 / A63882 | 5ml / 60ml / 450ml | 406 / 1504 / 7581 | https://www.beckman.com/reagents/genomic/cleanup-and-size-selection/pcr/a63881
May be included in the library prep kit
Choose library prep kit option from the starter-kit tabs | Illumina | Starter Kit Option 1 NEB RNA mNGS | See tab | [5 empty] | -20
| Illumina | Starter Kit Option 2 Watchmaker RNA mNGS | See tab
| Illumina | Starter Kit Option 3 Illumina | See tab
| ONT | Starter Kit Option 4 ONT RNA mNGS | See tab
Library QC | All | Qubit DNA HS kit (reagent and standard) | Thermo Fisher | Q32854 | 500 assays | 459 | https://www.thermofisher.com/order/catalog/product/Q32854
| All | Agarose | Various
| All | TAE 50X | Various
| All | Invitrogen™ SYBR™ Safe DNA Gel Stain | Various
| Illumina | Agilent DNA Tapestation D5000 | Agilent | 5067-5589, 5067-5588, and 5067-5590 (order all three for kit) | 105 samples |  |  | QC of Illumina libraries with tapestation; a potential alternative is diagnostic PCR
| Illumina | p5/p7 primers | IDT / Oligo manufacturer | P7: CAAGCAGAAGACGGCATACGAGAT P5: AATGATACGGCGACCACCGAGATCTACAC |  |  | https://rochesequencingstore.com/catalog/kapa-library-amplification-primer-mix/ | Primers that target the P5 and P7 regions of Illumina libraries; necessary for secondary amplification and diagnostic PCR
| Illumina | KAPA HiFi HotStart Library Amp Kit | Roche | KK2611 / KK2612 | 50 / 250 reactions | 126 / 525 | https://rochesequencingstore.com/catalog/kapa-lib-amp-kit/ | Used for optional secondary amplification, if library is too low concentration, need to order P5/P7 primers separately!
| ONT | Agilent Tapestation Genomic DNA kit (screentapes and reagents) | Agilent | 5067-5588, 5067-5589 (order both) | 105 samples |  | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-dna-screentape-reagents/genomic-dna-screentape-analysis-228261 | Used to visualize completed libraries prior to loading; a potential alternative is diagnostic PCR | 4C
Sequencing reagents (Illumina) | Illumina | PhiX control v3 | Illumina | FC-110-3001 |  | 189 | https://www.illumina.com/products/by-type/sequencing-kits/cluster-gen-sequencing-reagents/phix-control-v3.html#tabgroup-1-tab2 | Critical to include in all Illumina sequencing runs
| Illumina | Molecular grade 1N NaOH | [5 empty] | Only required for Illumina platforms that do not perform on-board denaturation (MiSeq, MiniSeq)
| Illumina | Molecular grade 10mM Tris-HCl pH 8.0
| Illumina | Molecular grade Tween-20
| Illumina | Molecular grade NaOCl | [5 empty] | For cleaning some Illumina machines; MiniSeq, MiSeq
| Illumina | Illumina sequencing reagent kit + flow cells | [5 empty] | Kit must be compatible with the available instrument
Sequencing reagents (ONT) | ONT | Flow Cell (R10.4.1) | Oxford Nanopore | FLO-MIN114 | 1 flow cell | 700 | https://store.nanoporetech.com/us/flow-cell-r10-4-1-114.html | Can be ordered in bulk to save on cost | 4˚C
| ONT | Flow Cell Wash Kit | Oxford Nanopore | EXP-WSH004 | 6 washes | 99 | https://store.nanoporetech.com/us/flow-cell-wash.html |  | -20˚C
| ONT | Invitrogen Ultra Pure BSA (50 mg/mL) | Thermofisher | AM2616 | 200 flow-cell loadings | 230 | https://www.thermofisher.com/order/catalog/product/AM2616 | Used when loading flow cell | -20˚C
Consumables (Tapestation) | All | Tapestation Loading Tips (2200 model), 1 Pk | Agilent | 5067-5153 | 384 tips | 143.00 USD | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-parts-accessories/2200-tapestation-parts-accessories-228265 | For 2200 model of Tapestation | Room Temp
| All | Tapestation Loading Tips (4150 or 4200 model), 10 Pk | Agilent | 5067-5599 | 10 x 112 tips | 465.00 USD | https://www.agilent.com/en/product/automated-electrophoresis/tapestation-systems/tapestation-parts-accessories/tapestation-systems-parts-accessories-539298 | For 4150 or 4200 model of Tapestation | Room Temp
| All | Tapestation Needle Change Cartridge | Agilent | 5067-5783 | 1 cartridge | 216.00 USD | https://www.chem.agilent.com/store/productDetail.jsp?catalogId=5067-5783&catId=SubCat2ECS_227727 | Replace every 3840 pierces (lanes) | Room Temp
Consumables (other) | All | DNase/RNase-free 1.5ml Eppendorf tubes
| All | DNase/RNase-free PCR strip tubes
| All | Filter tips for pipettes, DNase/RNase-free
| All | Pipette set in pre-PCR space
| All | Pipette set in post-PCR space
Equipment | All | Magnetic rack for PCR strip tubes |  |  |  |  | https://sergilabsupplies.com/collections/magnetic-racks/products/magnetic-rack-for-dna-rna-purification-for-100-250-microliter-pcr-tubes-fits-16-tubes-with-removable-magnets
| All | Magnetic rack for 1.5ml Eppendorf tubes
| All | Microcentrifuge with strip tube compatibility
| All | 96w cold racks | Eppendorf / Fisher Scientific | 22510509 |  |  | https://www.fishersci.com/shop/products/eppendorf-pcr-cooler-3/0540301?ef_id=Cj0KCQiAo4TKBhDRARIsAGW29bePIUImudQMX5_6L4TKkyI8-qqxctUFYzNXdAI98G_l2FzN4vYw730aAkMnEALw_wcB:G:s&ppc_id=PLA_goog_21146095378_164090414047_0540301__695072711184_5049923613314843600&ev_chn=shop&s_kwcid=AL!4428!3!695072711184!!!g!2291207122974!&gad_source=1&gad_campaignid=21146095378&gbraid=0AAAAADu8mFwbJdHI4ZKOa-TKi0Vk3eq-M&gclid=Cj0KCQiAo4TKBhDRARIsAGW29bePIUImudQMX5_6L4TKkyI8-qqxctUFYzNXdAI98G_l2FzN4vYw730aAkMnEALw_wcB
| All | Thermocycler in pre-PCR space
| All | Thermocycler in post-PCR space
| All | Qubit machine
| All | Tapestation machine
| Illumina | Illumina sequencer (various models are okay)
| Illumina | Illumina maintenance contracts
| ONT | ONT sequencer (MinION, PromethION, etc) + workstation computer (supplied separately)
Data Storage |  | Workstation
Long-term storage
Support: server setup/configuration, training, and maintenance

## Starter Kit Option 1 NEB RNA
Workflow | Module | Description | Supplier | Catalog number | Unit | Cost per unit | URL | Comments | Storage | Importance
NEBNext Ultra II RNA mNGS | Library Prep Kit | NEBNext Ultra II RNA Library Prep Kit for Illumina | New England Biolabs | E7770 | 96 Reactions | 3079 | https://www.neb.com/products/e7770-nebnext-ultra-ii-rna-library-prep-kit-for-illumina#Product%20Information | This is the non-directional RNA kit. If you want to do DNA mNGS, use the FS NEBNext kit. Note: Sample Purification beads are not included in this kit; see "Clean-up and size selection" on General Reagents tab | -20
| Adaptors + indexing primers option 1 (recommended) | TruSeq-compatible Mini Adaptor | IDT or other oligo synthesizer | N/A |  |  | doi.org/10.17504/protocols.io.m7vznmojrvx1/v1 | As of October 2025, we recommend using these TruSeq-compatible mini adapters in place of the NEB adapters | -20
| Adaptors + indexing primers option 2 | USER enzyme | New England Biolabs | M5505L |  |  | https://www.neb.com/products/m5505-user-enzyme#Product%20Information | USER enzyme is necessary if using the NEB adaptor. It is not necessary when using mini adaptor. USER comes with the NEB barcode primers, if you get your primers through other sources (IDT, Illumina), you must purchase the USER enzyme separately | -20
|  | Adaptor | New England Biolabs |  |  |  |  | If purchasing adaptor alone and not with the NEB barcode primers, contact customer service for a special quote | -20
| Barcoding index primers | Barcode primers | New England Biolabs | E6440S, E6442S, E6444S, E6446S, or E6448S | 96 Reactions | 606 | https://www.neb.com/products/e6440-nebnext-multiplex-oligos-for-illumina-96-unique-dual-index-primer-pairs#Product%20Information | Dual index barcoding primers. This kit includes the USER enzyme and adapters (we now recommend TruSeq-compatible mini adapters instead) | -20
| Library prep add ons | QIAseq FastSelect RNA Removal Kit | Qiagen | 334386 | 24 (can dilute to 1:10, 240 reactions) | 1474 | https://www.qiagen.com/us/products/discovery-and-translational-research/next-generation-sequencing/rna-sequencing/ribosomal-rna-and-globin-mrna-removal/qiaseq-fastselect-rrna-hmr-kits/#orderinginformation | -rRNA for all samples; -Globin and rRNA for blood samples | -20C
|  | ERCC spike-ins | Thermo Fisher | 4456740 | 1 kit | 1319 | https://www.thermofisher.com/order/catalog/product/4456740 | dilute to 50pg/uL & aliquot for single use. Use the qubit to quantify the original concentration (approx 30ng/uL) | -80
Enrichment modules (optional)
| Sequencing reagents | See General Reagents tab

## Starter Kit Option 2 Watchmaker
Workflow | Module | Description | Supplier | Catalog number | Unit | Cost per unit | URL | Comments | Storage | Importance
Watchmaker RNA mNGS | Library Prep Kit | WATCHMAKER RNA LIBRARY PREP KIT | Watchmaker Genomics | 7K0078-096 | 96 Reactions | 2032 | https://www.watchmakergenomics.com/rna-ngs-solutions/rna-prep.html | Note: Sample Purification beads are not included in this kit; see "Clean-up and size selection" on General Reagents tab | -20
| Adaptors + indexing primers option 1 (recommended) | TruSeq-compatible Mini Adaptor | IDT or other oligo synthesizer | N/A |  |  | doi.org/10.17504/protocols.io.m7vznmojrvx1/v1 | As of October 2025, we recommend using these TruSeq-compatible mini adapters in place of the NEB adapters | -20
|  | Adaptor dilution buffer | New England Biolabs | B1430S |  |  | https://www.neb.com/en-us/products/b1430-nebnext-adaptor-dilution-buffer?srsltid=AfmBOoqelM-lDc1jvL-uSyHmZeuJFxyQd9kqxon7IDyalMAskzzljrh5
| Adaptors + indexing primers option 2 | USER enzyme | New England Biolabs | M5505L |  |  | https://www.neb.com/products/m5505-user-enzyme#Product%20Information | USER enzyme is necessary if using the NEB adaptor. It is not necessary when using mini adaptor. USER comes with the NEB barcode primers, if you get your primers through other sources (IDT, Illumina), you must purchase the USER enzyme separately | -20
|  | Adaptor | New England Biolabs |  |  |  |  | If purchasing adaptor alone and not with the NEB barcode primers, contact customer service for a special quote | -20
| Barcoding index primers | Barcode primers | New England Biolabs | E6440S, E6442S, E6444S, E6446S, or E6448S | 96 Reactions | 606 | https://www.neb.com/products/e6440-nebnext-multiplex-oligos-for-illumina-96-unique-dual-index-primer-pairs#Product%20Information | Dual index barcoding primers. This kit includes the USER enzyme and adapters (we now recommend TruSeq-compatible mini adapters instead) | -20
| Library prep add ons | QIAseq FastSelect RNA Removal Kit | Qiagen | 334386 | 24 (can dilute to 1:10, 240 reactions) | 1474 | https://www.qiagen.com/us/products/discovery-and-translational-research/next-generation-sequencing/rna-sequencing/ribosomal-rna-and-globin-mrna-removal/qiaseq-fastselect-rrna-hmr-kits/#orderinginformation | -rRNA for all samples; -Globin and rRNA for blood samples | -20C
|  | ERCC spike-ins | Thermo Fisher | 4456740 | 1 kit | 1319 | https://www.thermofisher.com/order/catalog/product/4456740 | dilute to 50pg/uL & aliquot for single use. Use the qubit to quantify the original concentration (approx 30ng/uL) | -80
Enrichment modules (optional)
| Sequencing reagents | See General Reagents tab
Base protocol: | https://www.watchmakergenomics.com/media/wg/asset/%2Fm%2F1%2Fm159_rna_library_prep_kit_ug_wmug209_v4-2-2024.pdf

## Starter Kit Option 3 Illumina
Workflow | Module | Description | Supplier | Catalog number | Unit | Cost per unit | URL | Comments | Storage | Importance
Illumina Rapid RNA Prep | Library Prep Kit | Illumina Rapid Total RNA Prep | Illumina | 20158824 | 96 Reactions | 2040 | https://www.illumina.com/products/by-type/sequencing-kits/library-prep-kits/rapid-total-rna-prep.html | Tagmentation-based library prep kit. Not compatible with TruSeq indexes. Includes reagents for preparing 96 samples of Rapid RNA libraries with Illumina Purification Beads. | -20
| Adaptors | N/A | [5 empty] | Included in kit on Tn5 transposome | -20
| Barcoding index primers | Illumina DNA/RNA UD Index Set, Tagmentation | Illumina | 20091654, 20091656, 20091658, or 20091660 | 96 Reactions | 408 | https://www.illumina.com/products/by-type/sequencing-kits/library-prep-kits/rapid-total-rna-prep.html#tabgroup-2-tab2 | Compatible with Illumina tagmentation kits | -20
| Library prep add ons | QIAseq FastSelect RNA Removal Kit | Qiagen | 334386 | 24 (can dilute to 1:10, 240 reactions) | 1474 | https://www.qiagen.com/us/products/discovery-and-translational-research/next-generation-sequencing/rna-sequencing/ribosomal-rna-and-globin-mrna-removal/qiaseq-fastselect-rrna-hmr-kits/#orderinginformation | -rRNA for all samples; -Globin and rRNA for blood samples | -20C
|  | ERCC spike-ins | Thermo Fisher | 4456740 | 1 kit | 1319 | https://www.thermofisher.com/order/catalog/product/4456740 | dilute to 50pg/uL & aliquot for single use. Use the qubit to quantify the original concentration (approx 30ng/uL) | -80
Enrichment modules (optional)
| Sequencing reagents | See General Reagents tab
Base protocol: | https://support.illumina.com/content/dam/illumina-support/documents/documentation/chemistry_documentation/rapid-rna-prep/200077002_01_rapid-total-rna-prep.pdf
https://support.illumina.com/sequencing/sequencing_kits/illumina-rapid-total-rna-prep.html
Suggested adjustments: | FastSelect at 1:10 dilution for human rRNA depletion instead of Illumina RiboZero

## Starter Kit Option 4 ONT RNA
Workflow | Module | Description | Supplier | Catalog number | Unit | Cost per unit (USD) | URL | Comments | Storage
ONT RNA mNGS | Library Prep Kit | Rapid PCR Barcoding Kit 24 V14 | Oxford Nanopore | SQK-RPB114.24 | 6 x 24 reactions | 840 | https://store.nanoporetech.com/us/rapid-pcr-barcoding-kit-24-v14.html |  | -20˚C
| Library Prep Reagents | Maxima H Reverse Transcriptase | Thermofisher | EP0752 | 50 reactions | 181 | https://www.thermofisher.com/order/catalog/product/EP0752 | Used in new protocol on ONT website (old SMART-9N protocol uses the SuperScript IV) | -20˚C
|  | RNase OUT | Thermofisher | 10777019 | 125 reactions | 237 | https://www.thermofisher.com/order/catalog/product/10777019 |  | -20˚C
|  | LongAmp Taq 2X Master Mix | NEB | M0287S | 100 reactions | 167 | https://www.neb.com/en-us/products/m0287-longamp-taq-2x-master-mix |  | -20˚C
|  | dNTP Solution Mix | NEB | N0447S | 800 reactions | 78 | https://www.neb.com/en-us/products/n0447-deoxynucleotide-dntp-solution-mix |  | -20˚C
|  | Thermolabile Exonuclease I | NEB | M0568S | 150 reactions | 91 | https://www.neb.com/en-us/products/m0568-thermolabile-exonuclease-i?srsltid=AfmBOoqnFcYUzPqFHUqMKs0Tu-lk9mkQ5694n09MHfrvJ0nh5jMDOM9a |  | -20˚C
| Template switching oligos | RNA Oligo: RLB TSO | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~50 | https://www.idtdna.com/pages/products/custom-dna-rna/custom-rna-oligos/rna-oligos |  | -80˚C
|  | DNA Oligo RLB RT 9N | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB |  | -20˚C
|  | DNA Oligo: RLB diag PCR | IDT/other synthesizer | https://www.protocols.io/view/viral-metagenomics-using-smart-9n-amplification-an-j8nlke5wwl5r/v1/materials | >100 reactions | ~10 | https://www.idtdna.com/pages/products/custom-dna-rna/dna-oligos?utm_source=google&utm_medium=cpc&utm_campaign=00588_1i_03&utm_content=search&gad_source=1&gclid=Cj0KCQjwlZixBhCoARIsAIC745ABdWagv9Lk-FhvO2h3hmXtNcTqluQpT1UkWwuw5bMXGalTuJJY_rQaAo43EALw_wcB | Order as DNA oligo; not required but useful for troubleshooting | -20˚C
Library prep add ons
| Sequencing | See General Reagents tab
Base protocol: | https://nanoporetech.com/document/rapid-sequencing-metagenomics-sqk-rpb114-24