# CZ ID Training: Reference Tables

## QC Metrics Table

| QC Metric | Definition |
| --- | --- |
| Passed Filters | The percentage of reads remaining after host filtering, quality filtering and subsampling, compared to the initial reads input. Tells you how many reads were used for final analysis. |
| Passed QC | The percentage of reads that passed the quality filtering thresholds imposed by fastp. Gives you an idea of the sequencing quality. |
| Total Reads* | The total number of reads uploaded. |
| DCR* | Duplicate Compression Ratio; The ratio of sequences present prior to running CZID dedup (duplicate removal) vs after duplicate removal. |
| ERCC reads* | The total number of reads aligning to ERCC (External RNA Controls Consortium) sequences. The number of ERCC reads will be proportionally higher in samples with relatively low input RNA as compared to those with high amounts of input RNA. |
| SubSampled Fraction* | After host filtration and QC, the remaining reads are subsampled to 1 million fragments (2 million paired reads). This field indicates the ratio of subsampled reads to total reads passing host filtration and QC steps. |

* Fields are not default in the samples table and need to be added by clicking on the column selector

## Sample Metrics Table

| Report Metric | Definition |
| --- | --- |
| Score | Score is only calculated if a background model is applied. It is CZ ID's heuristic for ranking microbial hits. The score is intended to combine the following aspects of the evidence for a hit: (a) species-level information, (b) genus-level information, (c) information about relative abundance within the sample, (d) information about abundance relative to the chosen background controls. The score is calculated as follows: ((abs(genus NT Z) * species NT Z * species NT rPM) + (abs(genus NR Z) * species NR Z * species NR rPM)) |
| Z | Z-score statistic is only computed if a background model is applied. It is used for evaluating the prevalence of microbes in your sample as compared to background controls. The Z-score is computed based on the specified background model. |
| rPM | Number of reads aligning to the taxon in the NCBI NT/NR database, per million reads sequenced |
| r | Number of reads aligning to the taxon in the NCBI NT/NR database |
| contig | Number of assembled contigs aligning to the taxon in the NCBI NT/NR database |
| contig r | Total number of reads aligning to all assembled contigs for this taxon |
| %id | Average percent-identity of alignments to NCBI NT/NR |
| L | Average length of the local alignment for all contigs and reads assigned to this taxon |
| E value | Average Expect value (e-value) of alignments to NCBI NT/NR. The Expect value (e-value) is a parameter that describes the number of hits one can "expect" to see by chance when searching a database of a particular size. The closer to 0 the better. |

## Pipeline Table

| Pipeline Step | Function | If Many Reads Lost During this Step... |
| --- | --- | --- |
| fastp | Adapter Trimming Low quality read removal Low complexity read removal | Many short reads, possible adapter dimers, possible degradation, possible over-fragmentation. Many reads of low-quality (Phred scores, GC content, over-clustering). Reads are relatively low-complexity - containing homopolymer nucleotides or simple sequence repeats |
| HISAT2, Bowtie 2 | Host Subtraction | Large proportion of reads mapped to the host reference genome |
| HISAT2, Bowtie 2 | Remove human reads regardless of host | Large proportion of reads mapped to human reference genome |
| CZID-dedup (*Available through “reads remaining”) | Remove duplicates | Many duplicate reads, possible over-amplification during library preparation. |

# CZ ID Training: Worksheets

## Goal For Your Project

Why is your team using metagenomics and CZ ID? What problem(s) are you trying to solve with mNGS and how does it relate to your broader research?

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

## QC Worksheet

QC Step 1: Identify samples with low total reads

The total number of reads uploaded (after input validation).

| Metric | Criterion | How to Interpret | Sample Name(s) | Next Steps/Notes |
| --- | --- | --- | --- | --- |
| Total Reads | Outliers | You should make note of outliers and high variability in Total Reads. This can indicate uneven pooling in the library preparation steps. You may choose to resequence low-output samples. |  |  |

QC Step 2: Identify samples with low-quality reads (low passed QC)

The percentage of reads that passed the quality filtering thresholds imposed by fastp. Gives you an idea of the sequencing quality.

| Metric | Criterion | How to Interpret | Sample Name(s) | Next Steps/Notes |
| --- | --- | --- | --- | --- |
| Passed QC | >50% | You can be relatively confident in the quality of the sequencing data. |  |  |
|  | <10% | Samples with low % Passed QC likely contained many short sequences that were associated with adapter dimers or sequences that obtained low-quality scores during base-calling. If the Passed Filters value is below 20%, you should work to understand why reads were filtered out (see next section) and use this information to improve library preparation steps. Interpret results from these samples with caution. |  |  |
|  | *Outliers | Take note of any values above that stand apart from the others because of very high or very low Passed QC values. These should be noted for their unusually high or low sequencing quality and looked into more closely. |  |  |

QC Step 3: Identify samples with high number of duplicates

The ratio of sequences present prior to running cd-hit-dup (duplicate removal) vs after duplicate removal.

| Metric | Criterion | How to Interpret | Sample Name(s) | Next Steps/Notes |
| --- | --- | --- | --- | --- |
| DCR | >3 | There were a lot of duplicate reads in your sample, indicating lower library complexity - this can be due to PCR amplification and jackpotting. |  | What is the Sample Type for each of the samples? - Samples with a known microbiome (ie Stool, NP Swab, Environmental Samples, Sputum) tend to have a lower DCR due to the complexity of the samples and abundance of total nucleic acid. - Sterile site fluids (Serum, CSF, Plasma) may have a higher DCR due to over-amplification of low biomass samples. |

QC Step 4: Identify samples with low number of reads passing CZ ID filters

The percentage of reads remaining after host filtering, quality filtering and subsampling, compared to the initial reads input. Tells you how many reads were used for final analysis.

| Metric | Criterion | How to Interpret | Sample Name(s) | Next Steps/Notes |
| --- | --- | --- | --- | --- |
| Passed Filters | >10% | A higher Passed Filters value is generally positive as it indicates that you have a greater amount of reads to analyze for non-host taxa. |  | What is the Sample Type for each of the samples? - Samples with a known microbiome (ie Stool, NP Swab, Environmental Samples, Sputum) tend to have a higher number of non-host reads due to greater microbial content in the samples. - Sterile site fluids (Serum, CSF, Plasma) tend to have fewer non-host reads and greater numbers of host or ERCC reads. - Whole Blood tends to have a distribution of non-host reads in between these two extremes due to the high abundance of host cells. |
|  | <5% | It is not uncommon to see Passed Filters values below 1% for samples with high abundance of host reads. |  |  |
|  | *Outliers | Take note of any values that stand apart from the others because of very high or very low Passed Filters values. These should be noted for their unusually high or low amount of non-host data and looked into more closely. |  |  |

QC Step 5: Evaluate ERCC Spike-Ins

The total number of reads aligning to ERCC (External RNA Controls Consortium) sequences. The number of ERCC reads will be proportionally higher in samples with relatively low input RNA as compared to those with high amounts of input RNA.

| Metric | Criterion | How to Interpret | Sample Name(s) | Next Steps/Notes |
| --- | --- | --- | --- | --- |
| ERCC reads | Outliers / unexpected proportion based on sample type | What is the Sample Type for each of the samples? - Samples with a known microbiome (ie Stool, NP Swab, Environmental Samples, Sputum) tend to have higher microbial/host content and, therefore, low ERCC reads. - Sterile site fluids (Serum, CSF, Plasma) are expected to have higher ERCC reads due to low biomass samples. |  |  |
| ERCC plots | Poor correlation of spike-in vs detected read values |  |  |  |

## Sample QC Summary Table

Identify samples with poor QC metric(s) to flag for analysis interpretation

Using the reads lost chart and QC Steps 1-4 above, fill out the following for low quality samples:

| Sample Name | Step(s) where lost many reads | ERCC Spike In Counts pass checks? | Conclusions |
| --- | --- | --- | --- |

## Sample Report

Think about the following questions when looking at your sample report:

- What is the goal of your study?

- Are there any pathogens present that could be causing disease in your set of samples?

  - Is it a real hit? Why do you think it is?

- What are some of the other microbes?

  - Why do you think they are there?

- Did you find any false positives?

  - How did you determine this?

## Sample Summary Table (#1)

___________________________________

Name of sample

| Taxon Name | Important Metrics (i.e. high rPM, known pathogen, number of contigs, length) | Pathogenic? | Does it answer your research question? | Coverage Visualization Notes | BLAST Notes | Why do you think this microbe is present? | Is this a real hit? |
| --- | --- | --- | --- | --- | --- | --- | --- |

## Sample Summary Table (#2)

___________________________________

Name of sample

| Taxon Name | Important Metrics (i.e. high rPM, known pathogen, number of contigs, length) | Pathogenic? | Does it answer your research question? | Coverage Visualization Notes | BLAST Notes | Why do you think this microbe is present? | Is this a real hit? |
| --- | --- | --- | --- | --- | --- | --- | --- |

## Heatmap Notes

Suggested starting threshold filters: NT rPM ≥ 10, NR rPM ≥ 1, NT L > 50

|  | Initial Heatmap (no filters) | With Background Model + threshold filters | Background model + threshold filters + category filter |
| --- | --- | --- | --- |
| Are there any organisms present in the water samples? If so, are they present in any other samples? |  |  |  |
| Which organisms appear consistently across all samples, but not in water control? |  |  |  |
| Are there any pathogens present that you want to look into? |  |  |  |
| If you have metadata, are there microbes present in one set of samples that aren’t in another (i.e. cases vs controls)? |  |  |  |

Space for other notes on the Heatmap